## sheet_name
Reading Date | Supply temperature | Extract temperature | Outdoor temperature | WT | Panel temperature 1 | Panel temperature 2 | Panel humidity RH 1 | Panel humidity RH 2 | Supply fan | Exhaust fan | SP | EP | SFI | EFI | S1 | S2 | Heat exchanger | WC | Electric heater | DX | Air dampers | Filter clogging | Energy saving | OH | Indoor humidity AH | Ventilation level i2 | Active hours i2 | Next Away | Ventilation level i | Supply temperature | Extract temperature | Outdoor temperature | SP | SAF | EAF | SAFS | EAFS | Filter clogging | Heat exchanger efficiency | Heat recovery | Power consumption | Heating power | Specific power Acutal | Specific power Day | Consumed energy Day | Consumed energy Month | Consumed energy Total | Heating energy Day | Heating energy Month | Heating energy Total | Recovered energy Day | Recovered energy Month | Recovered energy Total | ST | ET | AQS | AQ | AHS | AH | VF
2022-01-10 | 10.5 °C | 23.0 °C | -7.0 °C | **.* °C | 23.7 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 27 % | 74 % | #.## g/m³ | 8.77 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 10.3 °C | 23.1 °C | -6.8 °C | 50 | 50 % | 50 % | 50 % | 50 % | 27 % | 89 % | 1446 W | 537 W | 500 W | 0.23 | 0.26 | 7.40 kWh | 270.50 kWh | 2620.14 kWh | 6.79 kWh | 248.27 kWh | 2075.47 kWh | 18.91 kWh | 660.88 kWh | 8110.85 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 144982044
2022-01-12 | 17.0 °C | 24.9 °C | 1.6 °C | **.* °C | 24.2 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 29 % | 69 % | #.## g/m³ | 9.89 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.0 °C | 24.7 °C | 1.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 89 % | 1105 W | 538 W | 500 W | 0.23 | 0.26 | 6.93 kWh | 280.84 kWh | 2641.36 kWh | 6.35 kWh | 258.68 kWh | 2095.25 kWh | 17.05 kWh | 667.73 kWh | 8159.23 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 146030620
2022-01-12 19:02:23 | 17.2 °C | 24.9 °C | 1.7 °C | **.* °C | 24.2 °C | **.* °C | 44 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 29 % | 68 % | #.## g/m³ | 9.68 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.2 °C | 25.0 °C | 1.8 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 89 % | 1121 W | 538 W | 500 W | 0.23 | 0.26 | 7.11 kWh | 281.02 kWh | 2641.54 kWh | 6.52 kWh | 258.85 kWh | 2095.42 kWh | 17.42 kWh | 668.10 kWh | 8159.60 kWh | 19.0 °C | --.- °C | --.- % | 44 % | --.- % | 44 % | 146030620
2022-01-13 18:21:17 | 18.9 °C | 24.9 °C | 5.5 °C | **.* °C | 23.7 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 75 % | 0 % | 100 % | 29 % | 71 % | #.## g/m³ | 9.61 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.0 °C | 24.9 °C | 5.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 88 % | 929 W | 405 W | 369 W | 0.23 | 0.25 | 4.46 kWh | 281.66 kWh | 2647.90 kWh | 3.90 kWh | 259.53 kWh | 2101.07 kWh | 11.59 kWh | 663.69 kWh | 8175.05 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 144982044
2022-01-14 11:30:27 | 17.6 °C | 24.0 °C | 3.1 °C | **.* °C | 23.8 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.02 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.3 °C | 24.0 °C | 3.2 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 987 W | 537 W | 500 W | 0.23 | 0.27 | 2.82 kWh | 281.37 kWh | 2652.40 kWh | 2.52 kWh | 259.50 kWh | 2105.08 kWh | 6.01 kWh | 655.87 kWh | 8184.90 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 146030620
2022-01-14 11:32:02 | 17.5 °C | 23.9 °C | 3.2 °C | **.* °C | 23.8 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.02 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 24.0 °C | 3.3 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 993 W | 537 W | 500 W | 0.23 | 0.27 | 2.84 kWh | 281.38 kWh | 2652.41 kWh | 2.53 kWh | 259.51 kWh | 2105.09 kWh | 6.03 kWh | 655.90 kWh | 8184.92 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 144982044
2022-01-14 15:33:23 | 17.4 °C | 24.2 °C | 2.8 °C | **.* °C | 24.1 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.84 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 24.2 °C | 2.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 1025 W | 537 W | 500 W | 0.23 | 0.26 | 4.90 kWh | 283.44 kWh | 2654.48 kWh | 4.45 kWh | 261.43 kWh | 2107.01 kWh | 10.00 kWh | 659.87 kWh | 8188.89 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 144982044
2022-01-14 17:51:16 | 17.6 °C | 23.9 °C | 2.8 °C | **.* °C | 24.0 °C | **.* °C | 44 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.56 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.6 °C | 23.8 °C | 2.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 1009 W | 538 W | 500 W | 0.23 | 0.26 | 6.14 kWh | 284.68 kWh | 2655.71 kWh | 5.60 kWh | 262.58 kWh | 2108.16 kWh | 12.35 kWh | 662.22 kWh | 8191.24 kWh | 19.0 °C | --.- °C | --.- % | 44 % | --.- % | 44 % | 144982044